Determination of eugenol in personal-care products by dispersive liquid-liquid microextraction followed by spectrophotometry using p-amino-N,N-dimethylaniline as a derivatizing agent

Supplementary Material

Figure A. Oxidant optimization for oxidative coupling of eugenol. Conditions: oxidant 0.4mM, eugenol and PADA 0.2 mM; ammonium hydroxide 2 mM.

Figure B. Base optimization for oxidative coupling of eugenol. Conditions:  base 2mM, eugenol and PADA 0.2 mM, hexacyanoferrate 0.6 mM.

Table A Order of addition. Eugenol 0.2 mM, hexacyanoferrate 0.6 mM, potassium hydroxide 3 mM. PADA. 0.3 mM.

|  | Order of addition |  |  |  | A |
| --- | --- | --- | --- | --- | --- |
| 1 | D | R | O | B | 0.982 |
| 2 | D | O | R | B | 0.341 |
| 3 | D | B | R | O | 0.557 |
| 4 | D | B | O | R | 0.089 |
| 5 | R | O | D | B | 0.223 |
| 6 | R | O | B | D | 0.149 |
| 7 | R | B | D | O | 0.403 |
| 8 | O | B | D | R | 0.085 |
| 9 | O | B | R | D | 0.171 |
| 10 | B | R | O | D | 0.162 |

*(D= eugenol, R=PADA , O= hexacyanoferrate B= potassium hydroxide), A=Absorbance

Figure C. DLLME extraction solvent study. conditions: eugenol 0.2 mM, t dispersive solvent (acetone) 25 µL, the volume of aqueous phase (dye) 14 mL, KCl 20 mM, centrifugation 5 min at 1100 rpm.

Figure D. DLLME dispersive solvent study conditions: dispersive solvent 25 µL, eugenol 0.2 mM, (extraction solvent)  550 µL, aqueous phase (dye) 14 mL, KCl 20 mM, centrifugation 5 min at 1100 rpm.

Figure E. DLLME salt selection: eugenol 0.2 mM, (extraction solvent) 550 µL, (dispersive solvent)  100 µL, aqueous phase (dye) 14 mL, centrifugation 5 min at 1100 rpm.

Figure F.  DLLME reagent mixing effect. Conditions: eugenol 0.2 mM, sodium chloride 28 mM, (extraction solvent) 550 µL, (dispersive solvent) 100 µL, aqueous phase (dye) 14 mL, centrifugation 5 min at 1100 rpm.

Figure G. Calibration curves for eugenol A. the Derivatization reaction mixture (red symbols) B. DLLME method (blue symbols), both under optimal conditions.